## MASTER
| ILLINOIS ENVIRONMENTAL PROTECTION AGENCY |  |  | VILLAGE OF NORTH HENDERSON PUBLIC WATER SUPPLY
DIVISION OF PUBLIC WATER SUPPLIES
|  | FACILITY #:IL1310300 |  | FOR THE MONTH OF: |  |  | April 2017
CHLORINATION
|  |  |  | PRE-CHLORINATION |  |  | FINISHED WATER
|  |  |  | CHLORINE DOSAGE |  |  | CHLORINE TESTS (mg/l)
| Time | Meter | Water |  | Amount |  | CI | CHLORINE | DAY | *
| Meter | Reading | Treated |  | Used | Calcul. | FINISHED | RESIDUAL | TANK
Date | Read | (1000 gal) | (1000 gal) | Reading | lbs | mg/l |  | DISTRIBUTION
** |  | 16702278 | [6 empty] | 36
1 | 8:50 | 16714414 | 12136 |  |  |  | 1.2 |  | 33 | T
2 | 11:40 | 16729613 | 15199 |  |  |  | 1.1 |  | 28 | T
3 | 11:00 | 16743370 | 13757 |  |  |  | 1 |  | 25 | T
4 | 9:00 | 16754145 | 10775 |  |  |  | 1 |  | 21 | T
5 | 9:45 | 16767814 | 13669 |  |  |  | 1.2 |  | 18 | T
6 | 9:00 | 16779867 | 12053 |  |  |  | 1.1 |  | 15 | T
7 | 8:30 | 16791487 | 11620 |  |  |  | 0.9 |  | 11;45 | T
8 | 14:30 | 16807932 | 16445 |  |  |  | 1 |  | 41 | T
9 |  | 16807932 | 0 | [6 empty] | T
10 | 17:30 | 16839584 | 31652 |  |  |  | 1 |  | 34 | T
11 | 9:00 | 16847629 | 8045 |  |  |  | 1.1 |  | 31 | T
12 |  | 16847629 | 0 | [6 empty] | T
13 |  | 16847629 | 0 | [6 empty] | T
14 | 8:30 | 16926799 | 79170 |  |  |  | 1.3 |  | 19 | T
15 |  | 16926799 | 0 | [6 empty] | T
16 | 9:15 | 16963965 | 37166 |  |  |  | 1.2 |  | 10;45 | T
17 |  | 16963965 | 0 | [6 empty] | T
18 |  | 16963965 | 0 | [6 empty] | T
19 | 8:30 | 17023454 | 59489 |  |  |  | 1.2 |  | 34 | T
20 |  | 17023454 | 0 | [6 empty] | T
21 | 8:40 | 17061696 | 38242 |  |  |  | 1.5 |  | 24 | T
22 | 8:00 | 17080642 | 18946 |  |  |  | 1.5 |  | 19 | T
23 | 9:35 | 17102756 | 22114 |  |  |  | 1.6 |  | 14;45 | T
24 | 15:30 | 17130036 | 27280 |  |  |  | 1.6 |  | 40 | T
25 | 12:45 | 17148172 | 18136 |  |  |  | 1.5 |  | 36 | T
26 |  | 17148172 | 0 | [6 empty] | T
27 | 15:30 | 17190963 | 42791 |  |  |  | 1.7 |  | 25 | T
28 |  | 17190963 | 0 | [6 empty] | T
29 | 8:15 | 17225852 | 34889 |  |  |  | 1.8 |  | 17 | T
30 | 8:10 | 17243408 | 17556 |  |  |  | 1.6 |  | 13 | T
31 |  | 17243408 | [7 empty] | T
Total |  |  | 541130 | [5 empty] | 123
Ave. |  |  | 18037
Max. |  |  | 27280
Min. |  |  | 8045
I certify that the information in this report is complete and | [6 empty] | METER LOCATION: PUMP HOUSE
accurate to the best of my knowledge:
TYPE OF CI TEST KIT AND/OR METHOD USED:
COLOR DISC
REPORTED BY (SIGNATURE):
[6 empty] | ________________ | DATE MONTHLY BACTERIOLOGICAL SAMPLES
8552 | [5 empty] | Cert. Or Reg. No. | SUBMITTED:
CERT. OR REG. NO.
**RECORD METER READING FROM LAST DAY
*INDICATE TYPE OF CI RESIDUAL | [6 empty] | OF PREVIOUS MONTH:
F=FREE; C=COMBINED; T=TOTAL

## OCT 2014
| ILLINOIS ENVIRONMENTAL PROTECTION AGENCY |  |  | VILLAGE OF NORTH HENDERSON PUBLIC WATER SUPPLY
DIVISION OF PUBLIC WATER SUPPLIES
|  | FACILITY #:IL1310300 |  | FOR THE MONTH OF: |  |  | OCT 2014
CHLORINATION
|  |  |  | PRE-CHLORINATION |  |  | FINISHED WATER
|  |  |  | CHLORINE DOSAGE |  |  | CHLORINE TESTS (mg/l)
| Time | Meter | Water |  | Amount |  | CI | CHLORINE | DAY
| Meter | Reading | Treated |  | Used | Calcul. | FINISHED | RESIDUAL | TANK | *
Date | Read | (1000 gal) | (1000 gal) | Reading | lbs | mg/l |  | DISTRIBUTION
** |  | 137505
1 | 15:15 | 185518 | 48013 |  |  |  | 1.5 | 1 | 10;45 | T
2 | 18:30 | 201512 | 15994 |  |  |  | 3 | 2.5 | 39 | T
3 |  | 201512 | 0 | [6 empty] | T
4 | 8:30 | 224989 | 23477 |  |  |  | 2.5 | 2.5 | 26 | T
5 | 17:30 | 249435 | 24446 |  |  |  | 3 | 2.7 | 15;50 | T
6 | 13:30 | 263368 | 13933 |  |  |  | 3 | 3 | 45 | T
7 | 17:00 | 279218 | 15850 |  |  |  | 2.5 | 3 | 39 | T
8 |  | 279218 | 0 | [6 empty] | T
9 | 15:30 | 305524 | 26306 |  |  |  | 2.5 | 2.5 | 30 | T
10 | 15:30 | 318593 | 13069 |  |  |  | 2.2 | 2 | 25 | T
11 | 8 | 326924 | 8331 |  |  |  | 2 | 2 | 21 | T
12 | 8:30 | 341227 | 14303 |  |  |  | 1.7 | 1.6 | 16;50 | T
13 | 18:00 | 363018 | 21791 |  |  |  | 1.8 | 1.9 | 45 | T
14 | 10:15 | 372995 | 9977 |  |  |  | 2.3 | 2 | 42 | T
15 |  | 372995 | 0 | [6 empty] | T
16 | 10 | 399722 | 26727 |  |  |  | 3.2 | 3 | 33 | T
17 | 10 | 403213 | 3491 |  |  |  | 3 | 3 | 27 | T
18 | 8 | 425367 | 22154 |  |  |  | 1.5 | 2 | 24 | T
19 | 9:30 | 440671 | 15304 |  |  |  | 2.2 | 2 | 19;50 | T
20 |  | 440671 | 0 | [6 empty] | T
21 | 11 | 471774 | 31103 |  |  |  | 2.7 | 2.5 | 43 | T
22 |  | 471774 | 0 | [6 empty] | T
23 | 13:00 | 501214 | 29440 |  |  |  | 2.3 | 2 | 33 | T
24 |  | 501214 | 0 | [6 empty] | T
25 | 12:30 | 530653 | 29439 |  |  |  | 2.5 | 2 | 24 | T
26 | 17:00 | 549594 | 18941 |  |  |  | 2 | 2 | 18 | T
27 | 18:30 | 566708 | 17114 |  |  |  | 1.7 | 1.5 | 14 | T
28 | 12:30 | 577290 | 10582 |  |  |  | 3 | 1.8 | 10 | T
29 | 8 | 589417 | 12127 |  |  |  | 1.2 | 2 | 8;50 | T
30 | 18:00 | 610495 | 21078 |  |  |  | 1.7 | 1.5 | 47 | T
31 |  | 610495 | 0 | [6 empty] | T
Total |  |  | 282755
Ave. |  |  | 23617.0312
Max. |  |  | 24446
Min. |  |  | 8331
I certify that the information in this report is complete and | [6 empty] | METER LOCATION: PUMP HOUSE
accurate to the best of my knowledge:
TYPE OF CI TEST KIT AND/OR METHOD USED:
COLOR DISC
REPORTED BY (SIGNATURE):
[6 empty] | ________________ | DATE MONTHLY BACTERIOLOGICAL SAMPLES
8552 | [5 empty] | Cert. Or Reg. No. | SUBMITTED:
CERT. OR REG. NO.
**RECORD METER READING FROM LAST OF DAY OF
*INDICATE TYPE OF CI RESIDUAL | [6 empty] | PREVIOUS MONTH
F=FREE; C=COMBINED; T=TOTAL

## JAN 2014
| ILLINOIS ENVIRONMENTAL PROTECTION AGENCY |  |  | VILLAGE OF NORTH HENDERSON PUBLIC WATER SUPPLY
DIVISION OF PUBLIC WATER SUPPLIES
|  | FACILITY #:IL1310300 |  | FOR THE MONTH OF: |  |  | JANUARY 2014
CHLORINATION
|  |  |  | PRE-CHLORINATION |  |  | FINISHED WATER
|  |  |  | CHLORINE DOSAGE |  |  | CHLORINE TESTS (mg/l)
| Time | Meter | Water |  | Amount |  | CI | CHLORINE | DAY | *
| Meter | Reading | Treated |  | Used | Calcul. | FINISHED | RESIDUAL | TANK
Date | Read | (1000 gal) | (1000 gal) | Reading | lbs | mg/l |  | DISTRIBUTION
**
1 | 9:00 |  | 0 |  |  |  | 1 |  | 5/50 | T
2 | 9:00 |  | 0 |  |  |  | 1 |  | 43 | T
3 | 9:30 |  | 0 |  |  |  | 1 |  | 34 | T
4 | 8:30 |  | 0 |  |  |  | 1 |  | 25 | T
5 | 9:30 |  | 0 |  |  |  | 1.5 |  | 13/50 | T
6 |  |  | 0 | [6 empty] | T
7 | 18:30 |  | 0 | [5 empty] | 35 | T
8 | 9:00 |  | 0 |  |  |  | 0.5 |  | 29 | T
9 | 13:00 |  | 0 |  |  |  | 1 |  | 18 | T
10 | 11:45 |  | 0 |  |  |  | 1.1 |  | 10/50 | T
11 | 9:30 |  | 0 |  |  |  | 0.8 |  | 43 | T
12 | 9:00 |  | 0 |  |  |  | 2 |  | 34 | T
13 |  |  | 0 | [6 empty] | T
14 | 9:15 |  | 0 |  |  |  | 2.3 |  | 16 | T
15 | 14:30 |  | 0 |  |  |  | 2 |  | 6/50 | T
16 | 16:30 |  | 0 |  |  |  | 2.2 |  | 40 | T
17 | 14:30 |  | 0 |  |  |  | 1.8 |  | 31 | T
18 |  |  | 0 | [6 empty] | T
19 | 14:30 |  | 0 |  |  |  | 2.3 |  | 14 | T
20 | 8:45 |  | 0 |  |  |  | 1.8 |  | 6/50 | T
21 | 14:00 |  | 0 |  |  |  | 2.1 |  | 40 | T
22 | 8:30 |  | 0 |  |  |  | 2.3 |  | 33 | T
23 |  |  | 0 | [6 empty] | T
24 | 9:15 |  | 0 |  |  |  | 1.8 |  | 15 | T
25 | 8:00 |  | 0 |  |  |  | 1.9 |  | 5/50 | T
26 | 10:30 |  | 0 |  |  |  | 2 |  | 43 | T
27 |  |  | 0 | [6 empty] | T
28 | 10:35 | Q | 0 | [5 empty] | 25 | T
29 | 18:00 |  | 0 |  |  |  | 0.3 |  | 13 | T
30 | 8:00 |  | 0 | [5 empty] | 8/50 | T
31 | 16:00 |  | 0 | [5 empty] | 37 | T
Total |  |  | 0
Ave. |  |  | 0
Max. |  |  | 0
Min. |  |  | 0
I certify that the information in this report is complete and | [6 empty] | METER LOCATION: PUMP HOUSE
accurate to the best of my knowledge:
TYPE OF CI TEST KIT AND/OR METHOD USED:
COLOR DISC
REPORTED BY (SIGNATURE):
[6 empty] | ________________ | DATE MONTHLY BACTERIOLOGICAL SAMPLES
8552 | [5 empty] | Cert. Or Reg. No. | SUBMITTED:
CERT. OR REG. NO.
**RECORD METER READING FROM LAST DAY
*INDICATE TYPE OF CI RESIDUAL | [6 empty] | OF PREVIOUS MONTH:
F=FREE; C=COMBINED; T=TOTAL
METER BY PASSED

## FEB 2014
| ILLINOIS ENVIRONMENTAL PROTECTION AGENCY |  |  | VILLAGE OF NORTH HENDERSON PUBLIC WATER SUPPLY
DIVISION OF PUBLIC WATER SUPPLIES
|  | FACILITY #:IL1310300 |  | FOR THE MONTH OF: |  |  | FEBRUARY 2014
CHLORINATION
|  |  |  | PRE-CHLORINATION |  |  | FINISHED WATER
|  |  |  | CHLORINE DOSAGE |  |  | CHLORINE TESTS (mg/l)
| Time | Meter | Water |  | Amount |  | CI | CHLORINE | DAY | *
| Meter | Reading | Treated |  | Used | Calcul. | FINISHED | RESIDUAL | TANK
Date | Read | (1000 gal) | (1000 gal) | Reading | lbs | mg/l |  | DISTRIBUTION
**
1 | 8:30 |  | 0 |  |  |  | 2 |  | 31 | T
2 | 11:00 |  | 0 |  |  |  | 2 |  | 18/50 | T
3 | 17:00 |  | 0 |  |  |  | 1 |  | 30 | T
4 | 10:30 |  | 0 | [5 empty] | 15/50 | T
5 | 14:30 |  | 0 |  |  |  | 2 |  | 25 | T
6 | 8:45 |  | 0 |  |  |  | 1.5 |  | 13/50 | T
7 | 13:00 |  | 0 |  |  |  | 0.3 |  | 26 | T
8 | 8:00 |  | 0 |  |  |  | 0.5 |  | 10/50 | T
9 | 17:00 |  | 0 |  |  |  | 1.5 |  | 44 | T
10 | 14:00 |  | 0 |  |  |  | 1 |  | 34 | T
11 | 19:00 |  | 0 |  |  |  | 1 |  | 20 | T
12 | 18:00 |  | 0 |  |  |  | 2 |  | 10/50 | T
13 | 15:00 |  | 0 |  |  |  | 2.5 |  | 43 | T
14 |  |  | 0 | [6 empty] | T
15 | 8:00 |  | 0 |  |  |  | 2.5 |  | 24 | T
16 | 10:00 |  | 0 |  |  |  | 2.5 |  | 15/50 | T
17 | 8:30 |  | 0 |  |  |  | 2.4 |  | 45 | T
18 | 16:00 |  | 0 |  |  |  | 2.5 |  | 35 | T
19 | 13:30 |  | 0 |  |  |  | 2.6 |  | 29 | T
20 | 13:30 |  | 0 |  |  |  | 2.6 |  | 20 | T
21 | 15:30 |  | 0 |  |  |  | 2.8 |  | 14 | T
22 | 9:00 |  | 0 |  |  |  | 2.5 |  | 5/50 | T
23 |  |  | 0 | [6 empty] | T
24 | 11:30 |  | 0 |  |  |  | 2.7 |  | 36 | T
25 | 9:30 |  | 0 |  |  |  | 2.4 |  | 29 | T
26 |  |  | 0 | [6 empty] | T
27 | 9:15 |  | 0 |  |  |  | 2.6 |  | 16 | T
28 | 13:45 |  | 0 |  |  |  | 3 |  | 7/50 | T
29 |  |  | 0 | [6 empty] | T
30 |  |  | 0 | [6 empty] | T
31 |  |  | 0 | [6 empty] | T
Total |  |  | 0
Ave. |  |  | 0
Max. |  |  | 0
Min. |  |  | 0
I certify that the information in this report is complete and | [6 empty] | METER LOCATION: PUMP HOUSE
accurate to the best of my knowledge:
TYPE OF CI TEST KIT AND/OR METHOD USED:
COLOR DISC
REPORTED BY (SIGNATURE):
[6 empty] | ________________ | DATE MONTHLY BACTERIOLOGICAL SAMPLES
8552 | [5 empty] | Cert. Or Reg. No. | SUBMITTED:
CERT. OR REG. NO.
**RECORD METER READING FROM LAST DAY
*INDICATE TYPE OF CI RESIDUAL | [6 empty] | OF PREVIOUS MONTH:
F=FREE; C=COMBINED; T=TOTAL
METER BY PASSED

## MAR 2014
| ILLINOIS ENVIRONMENTAL PROTECTION AGENCY |  |  | VILLAGE OF NORTH HENDERSON PUBLIC WATER SUPPLY
DIVISION OF PUBLIC WATER SUPPLIES
|  | FACILITY #:IL1310300 |  | FOR THE MONTH OF: |  |  | MARCH 2014
CHLORINATION
|  |  |  | PRE-CHLORINATION |  |  | FINISHED WATER
|  |  |  | CHLORINE DOSAGE |  |  | CHLORINE TESTS (mg/l)
| Time | Meter | Water |  | Amount |  | CI | CHLORINE | DAY | *
| Meter | Reading | Treated |  | Used | Calcul. | FINISHED | RESIDUAL | TANK
Date | Read | (1000 gal) | (1000 gal) | Reading | lbs | mg/l |  | DISTRIBUTION
**
1 | 7:30 |  | 0 |  |  |  | 3 |  | 44 | T
2 | 9:00 |  | 0 |  |  |  | 3 |  | 36/50 | T
3 | 13:45 |  | 0 |  |  |  | 2 |  | 44 | T
4 | 10:30 |  | 0 |  |  |  | 2.3 |  | 37 | T
5 |  |  | 0 | [6 empty] | T
6 | 18:30 |  | 0 |  |  |  | 2.6 |  | 19 | T
7 | 15:30 |  | 0 |  |  |  | 2.3 |  | 12 | T
8 | 8:00 |  | 0 |  |  |  | 2.2 |  | 5/50 | T
9 | 13:30 |  | 0 |  |  |  | 2.3 |  | 36 | T
10 | 9:15 |  | 0 |  |  |  | 2.5 |  | 30 | T
11 |  |  | 0 | [6 empty] | T
12 | 14:30 |  | 0 |  |  |  | 2.7 |  | 15 | T
13 |  |  | 0 | [6 empty] | T
14 |  |  | 0 | [6 empty] | T
15 | 7:45 |  | 0 |  |  |  | 2 |  | 2/50 | T
16 | 9:00 |  | 0 |  |  |  | 1 |  | 45/50 | T
17 |  |  | 0 | [6 empty] | T
18 | 18:00 |  | 0 |  |  |  | 2.2 |  | 35 | T
19 |  |  | 0 | [6 empty] | T
20 | 18:30 |  | 0 |  |  |  | 2 |  | 20 | T
21 | 15:00 |  | 0 |  |  |  | 1.8 |  | 14 | T
22 | 9:00 |  | 0 |  |  |  | 0.5 |  | 5/50 | T
23 | 11:30 |  | 0 |  |  |  | 1 |  | 44 | T
24 | 15:00 |  | 0 |  |  |  | 1.8 |  | 35 | T
25 | 18:00 |  | 0 |  |  |  | 1.4 |  | 26 | T
26 |  |  | 0 | [6 empty] | T
27 | 11:30 |  | 0 |  |  |  | 1.8 |  | 12/50 | T
28 |  |  | 0 | [6 empty] | T
29 |  |  | 0 | [6 empty] | T
30 | 9:45 |  | 0 |  |  |  | 2.5 |  | 30 | T
31 | 18:00 |  | 0 |  |  |  | 2.5 |  | 20 | T
Total |  |  | 0
Ave. |  |  | 0
Max. |  |  | 0
Min. |  |  | 0
I certify that the information in this report is complete and | [6 empty] | METER LOCATION: PUMP HOUSE
accurate to the best of my knowledge:
TYPE OF CI TEST KIT AND/OR METHOD USED:
COLOR DISC
REPORTED BY (SIGNATURE):
[6 empty] | ________________ | DATE MONTHLY BACTERIOLOGICAL SAMPLES
8552 | [5 empty] | Cert. Or Reg. No. | SUBMITTED:
CERT. OR REG. NO.
**RECORD METER READING FROM LAST DAY
*INDICATE TYPE OF CI RESIDUAL | [6 empty] | OF PREVIOUS MONTH:
F=FREE; C=COMBINED; T=TOTAL
METER BY PASSED

## APR 2014
| ILLINOIS ENVIRONMENTAL PROTECTION AGENCY |  |  | VILLAGE OF NORTH HENDERSON PUBLIC WATER SUPPLY
DIVISION OF PUBLIC WATER SUPPLIES
|  | FACILITY #:IL1310300 |  | FOR THE MONTH OF: |  |  | APRIL 2014
CHLORINATION
|  |  |  | PRE-CHLORINATION |  |  | FINISHED WATER
|  |  |  | CHLORINE DOSAGE |  |  | CHLORINE TESTS (mg/l)
| Time | Meter | Water |  | Amount |  | CI | CHLORINE | DAY | *
| Meter | Reading | Treated |  | Used | Calcul. | FINISHED | RESIDUAL | TANK
Date | Read | (1000 gal) | (1000 gal) | Reading | lbs | mg/l |  | DISTRIBUTION
**
1 | 9:30 |  | 0 |  |  |  | 2.3 | 2 | 15.5 | T
2 |  |  | 0 | [6 empty] | T
3 |  |  | 0 | [6 empty] | T
4 |  |  | 0 | [6 empty] | T
5 | 9:15 |  | 0 |  |  |  | 1.5 | 1.4 | 24 | T
6 | 18:00 |  | 0 |  |  |  | 1.5 | 1.3 | 14/50 | T
7 |  |  | 0 | [6 empty] | T
8 | 17:00 |  | 0 |  |  |  | 2 | 1.5 | 35 | T
9 |  |  | 0 | [6 empty] | T
10 | 18:00 |  | 0 |  |  |  | 2 | 1.6 | 20 | T
11 |  |  | 0 | [6 empty] | T
12 | 7:30 |  | 0 |  |  |  | 1.5 | 1.5 | 10/50 | T
13 | 8:30 |  | 0 |  |  |  | 1.6 | 1.4 | 43 | T
14 |  |  | 0 | [6 empty] | T
15 | 13:15 |  | 0 |  |  |  | 1.5 | 1.3 | 26 | T
16 |  |  | 0 | [6 empty] | T
17 | 21:30 |  | 0 |  |  |  | 1.7 | 1.5 | 14 | T
18 | 19:00 |  | 0 |  |  |  | 1.5 | 1.4 | 4/50 | T
19 |  |  | 0 | [6 empty] | T
20 | 18:00 |  | 0 |  |  |  | 1.5 | 1.2 | 37/50 | T
21 | 10:30 |  | 0 |  |  |  | 1 | 0.9 | 45 | T
22 | 11:00 |  | 0 |  |  |  | 1.5 | 1.1 | 38 | T
23 | 10:00 |  | 0 |  |  |  | 1.6 | 1.2 | 30 | T
24 |  |  | 0 | [6 empty] | T
25 | 8:00 |  | 0 |  |  |  | 1.5 | 1.2 | 15 | T
26 | 9:00 |  | 0 |  |  |  | 1.7 | 1.3 | 5/50 | T
27 | 9:00 |  | 0 |  |  |  | 1.8 | 1.3 | 40 | T
28 | 10:30 |  | 0 |  |  |  | 1.5 | 1.2 | 32 | T
29 |  |  | 0 | [6 empty] | T
30 | 19:00 |  | 0 |  |  |  | 1.5 | 1.2 | 20 | T
31 |  |  | 0 | [6 empty] | T
Total |  |  | 0
Ave. |  |  | 0
Max. |  |  | 0
Min. |  |  | 0
I certify that the information in this report is complete and | [6 empty] | METER LOCATION: PUMP HOUSE
accurate to the best of my knowledge:
TYPE OF CI TEST KIT AND/OR METHOD USED:
COLOR DISC
REPORTED BY (SIGNATURE):
[6 empty] | ________________ | DATE MONTHLY BACTERIOLOGICAL SAMPLES
8552 | [5 empty] | Cert. Or Reg. No. | SUBMITTED:
CERT. OR REG. NO.
**RECORD METER READING FROM LAST DAY
*INDICATE TYPE OF CI RESIDUAL | [6 empty] | OF PREVIOUS MONTH:
F=FREE; C=COMBINED; T=TOTAL
METER BY PASSED

## MAY 2014
| ILLINOIS ENVIRONMENTAL PROTECTION AGENCY |  |  | VILLAGE OF NORTH HENDERSON PUBLIC WATER SUPPLY
DIVISION OF PUBLIC WATER SUPPLIES
|  | FACILITY #:IL1310300 |  | FOR THE MONTH OF: |  |  | MAY 2O24
CHLORINATION
|  |  |  | PRE-CHLORINATION |  |  | FINISHED WATER
|  |  |  | CHLORINE DOSAGE |  |  | CHLORINE TESTS (mg/l)
| Time | Meter | Water |  | Amount |  | CI | CHLORINE | DAY | *
| Meter | Reading | Treated |  | Used | Calcul. | FINISHED | RESIDUAL | TANK
Date | Read | (1000 gal) | (1000 gal) | Reading | lbs | mg/l |  | DISTRIBUTION
**
1 | 19:00 |  | 0 |  |  |  | 2.2 | 1.7 | 50 | T
2 | 18:00 |  | 0 |  |  |  | 2.1 | 1.7 | 45 | T
3 | 8:00 |  | 0 |  |  |  | 2.2 | 1.8 | 39 | T
4 | 19:00 |  | 0 |  |  |  | 2 | 1.9 | 30/50 | T
5 |  |  | 0 | [6 empty] | T
6 | 18:30 |  | 0 |  |  |  | 2.2 | 1.9 | 37 | T
7 | 19:00 |  | 0 |  |  |  | 2.2 | 1.8 | 27 | T
8 | 20:00 |  | 0 |  |  |  | 2 | 1.6 | 20 | T
9 |  |  | 0 | [6 empty] | T
10 | 9:00 |  | 0 |  |  |  | 2 | 1.8 | 10/50 | T
11 | 8:30 |  | 0 |  |  |  | 2 | 1.8 | 42 | T
12 | 19:00 |  | 0 |  |  |  | 2 | 1.7 | 38 | T
13 | 19:00 |  | 0 |  |  |  | 2 | 1.6 | 30 | T
14 |  |  | 0 | [6 empty] | T
15 | 19:00 |  | 0 |  |  |  | 2 | 1.7 | 24 | T
16 | 18:30 |  | 0 |  |  |  | 2 | 1.7 | 20 | T
17 | 8:00 |  | 0 |  |  |  | 2 | 1.8 | 14 | T
18 | 7:30 |  | 0 |  |  |  | 2 | 1.8 | 5/50 | T
19 |  |  | 0 |  |  |  | 1.9 | 1.4 | 41 | T
20 |  |  | 0 | [6 empty] | T
21 | 19:00 |  | 0 |  |  |  | 1.5 | 1.1 | 29 | T
22 | 19:00 |  | 0 |  |  |  | 1.4 | 1.1 | 20 | T
23 | 19:30 |  | 0 |  |  |  | 1 | 1 | 14 | T
24 | 13:00 |  | 0 |  |  |  | 1.2 | 1 | 9/50 | T
25 | 11:00 |  | 0 |  |  |  | 1.5 | 1.1 | 45 | T
26 | 11:30 |  | 0 |  |  |  | 1.9 | 1.6 | 39/50 | T
27 |  |  | 0 | [6 empty] | T
28 |  |  | 0 | [6 empty] | T
29 |  |  | 0 | [6 empty] | T
30 | 19:00 |  | 0 |  |  |  | 1.8 | 1.5 | 22 | T
31 | 7:30 |  | 0 |  |  |  | 1.8 | 1.6 | 18 | T
Total |  |  | 0
Ave. |  |  | 0
Max. |  |  | 0
Min. |  |  | 0
I certify that the information in this report is complete and | [6 empty] | METER LOCATION: PUMP HOUSE
accurate to the best of my knowledge:
TYPE OF CI TEST KIT AND/OR METHOD USED:
COLOR DISC
REPORTED BY (SIGNATURE):
[6 empty] | ________________ | DATE MONTHLY BACTERIOLOGICAL SAMPLES
8552 | [5 empty] | Cert. Or Reg. No. | SUBMITTED:
CERT. OR REG. NO.
**RECORD METER READING FROM LAST DAY
*INDICATE TYPE OF CI RESIDUAL | [6 empty] | OF PREVIOUS MONTH:
F=FREE; C=COMBINED; T=TOTAL
METER BY PASSED

## JUNE 2014
| ILLINOIS ENVIRONMENTAL PROTECTION AGENCY |  |  | VILLAGE OF NORTH HENDERSON PUBLIC WATER SUPPLY
DIVISION OF PUBLIC WATER SUPPLIES
|  | FACILITY #:IL1310300 |  | FOR THE MONTH OF: |  |  | JUNE 2014
CHLORINATION
|  |  |  | PRE-CHLORINATION |  |  | FINISHED WATER
|  |  |  | CHLORINE DOSAGE |  |  | CHLORINE TESTS (mg/l)
| Time | Meter | Water |  | Amount |  | CI | CHLORINE | DAY | *
| Meter | Reading | Treated |  | Used | Calcul. | FINISHED | RESIDUAL | TANK
Date | Read | (1000 gal) | (1000 gal) | Reading | lbs | mg/l |  | DISTRIBUTION
**
1 | 8:00 |  | 0 |  |  |  | 1 |  | 13/50 | T
2 |  |  | 0 | [6 empty] | T
3 |  |  | 0 | [6 empty] | T
4 | 18:00 |  | 0 |  |  |  | 0.5 |  | 30 | T
5 | 10:00 |  | 0 |  |  |  | 1.5 |  | 23 | T
6 | 9:45 |  | 0 |  |  |  | 1.7 |  | 14 | T
7 | 10:30 |  | 0 |  |  |  | 1.5 |  | 5/50 | T
8 | 16:00 |  | 0 |  |  |  | 1.6 |  | 39 | T
9 | 12:30 |  | 0 |  |  |  | 1.5 |  | 30 | T
10 | 16:00 |  | 0 |  |  |  | 1.6 |  | 20 | T
11 |  |  | 0 | [6 empty] | T
12 | 8:00 |  | 0 |  |  |  | 1.5 |  | 5/50 | T
13 | 12:45 |  | 0 |  |  |  | 1.7 |  | 39 | T
14 |  |  | 0 | [6 empty] | T
15 | 18:00 |  | 0 | [5 empty] | 17 | T
16 | 17:00 |  | 0 |  |  |  | 1 |  | 9/50 | T
17 |  |  | 0 | [6 empty] | T
18 | 20:00 |  | 0 | [5 empty] | 30 | T
19 | 17:45 |  | 0 |  |  |  | 1.5 |  | 21 | T
20 |  |  | 0 | [6 empty] | T
21 | 7:00 |  | 0 | [5 empty] | 7/50 | T
22 |  |  | 0 | [6 empty] | T
23 | 16:45 |  | 0 |  |  |  | 1.5 |  | 29 | T
24 | 15:45 |  | 0 |  |  |  | 1 |  | 20 | T
25 | 17:45 |  | 0 |  |  |  | 1.4 |  | 10 | T
26 | 6:30 |  | 0 |  |  |  | 0.8 |  | 5/50 | T
27 | 12:15 |  | 0 |  |  |  | 1 |  | 39 | T
28 |  |  | 0 | [6 empty] | T
29 | 15:00 |  | 0 |  |  |  | 1.5 |  | 18 | T
30 |  |  | 0 | [6 empty] | T
31 |  |  | 0 | [6 empty] | T
Total |  |  | 0
Ave. |  |  | 0
Max. |  |  | 0
Min. |  |  | 0
I certify that the information in this report is complete and | [6 empty] | METER LOCATION: PUMP HOUSE
accurate to the best of my knowledge:
TYPE OF CI TEST KIT AND/OR METHOD USED:
COLOR DISC
REPORTED BY (SIGNATURE):
[6 empty] | ________________ | DATE MONTHLY BACTERIOLOGICAL SAMPLES
8552 | [5 empty] | Cert. Or Reg. No. | SUBMITTED:
CERT. OR REG. NO.
**RECORD METER READING FROM LAST DAY
*INDICATE TYPE OF CI RESIDUAL | [6 empty] | OF PREVIOUS MONTH:
F=FREE; C=COMBINED; T=TOTAL
METER BY PASSED

## JULY 2014
| ILLINOIS ENVIRONMENTAL PROTECTION AGENCY |  |  | VILLAGE OF NORTH HENDERSON PUBLIC WATER SUPPLY
DIVISION OF PUBLIC WATER SUPPLIES
|  | FACILITY #:IL1310300 |  | FOR THE MONTH OF: |  |  | JULY 2014
CHLORINATION
|  |  |  | PRE-CHLORINATION |  |  | FINISHED WATER
|  |  |  | CHLORINE DOSAGE |  |  | CHLORINE TESTS (mg/l)
| Time | Meter | Water |  | Amount |  | CI | CHLORINE | DAY | *
| Meter | Reading | Treated |  | Used | Calcul. | FINISHED | RESIDUAL | TANK
Date | Read | (1000 gal) | (1000 gal) | Reading | lbs | mg/l |  | DISTRIBUTION
**
1 | 16:35 |  | 0 |  |  |  | 1.5 |  | 32 | T
2 | 17:30 |  | 0 |  |  |  | 1.6 |  | 22 | T
3 | 20:30 |  | 0 |  |  |  | 1.1 |  | 12 | T
4 | 8:00 |  | 0 |  |  |  | 1.2 |  | 8/50 | T
5 |  |  | 0 | [6 empty] | T
6 | 11:30 |  | 0 |  |  |  | 1.9 |  | 32 | T
7 | 11:15 |  | 0 |  |  |  | 1.9 |  | 22 | T
8 | 19:30 |  | 0 |  |  |  | 1.7 |  | 10/50 | T
9 | 18:30 |  | 0 |  |  |  | 1.6 |  | 40 | T
10 | 18:30 |  | 0 |  |  |  | 1.7 |  | 31 | T
11 |  |  | 0 | [6 empty] | T
12 |  |  | 0 | [6 empty] | T
13 | 9:30 |  | 0 | [5 empty] | 13/50 | T
14 | 15:45 |  | 0 |  |  |  | 1.5 |  | 40 | T
15 | 16:30 |  | 0 |  |  |  | 1 |  | 30 | T
16 | 15:30 |  | 0 |  |  |  | 1.4 |  | 21 | T
17 |  |  | 0 | [6 empty] | T
18 | 16:15 |  | 0 |  |  |  | 0.8 |  | 5/50 | T
19 |  |  | 0 | [6 empty] | T
20 |  |  | 0 | [6 empty] | T
21 | 10:00 |  | 0 |  |  |  | 0.5 |  | 24 | T
22 | 14:30 |  | 0 |  |  |  | 1.2 |  | 13 | T
23 | 17:00 |  | 0 |  |  |  | 0.5 |  | 4/50 | T
24 |  |  | 0 | [6 empty] | T
25 |  |  | 0 | [6 empty] | T
26 |  |  | 0 | [6 empty] | T
27 | 12:00 |  | 0 |  |  |  | 0.5 |  | 15/50 | T
28 |  |  | 0 | [6 empty] | T
29 | 16:00 |  | 0 |  |  |  | 1.5 |  | 46 | T
30 | 10:30 |  | 0 |  |  |  | 1.6 |  | 39 | T
31 | 7:30 |  | 0 |  |  |  | 1.7 |  | 28 | T
Total |  |  | 0
Ave. |  |  | 0
Max. |  |  | 0
Min. |  |  | 0
I certify that the information in this report is complete and | [6 empty] | METER LOCATION: PUMP HOUSE
accurate to the best of my knowledge:
TYPE OF CI TEST KIT AND/OR METHOD USED:
COLOR DISC
REPORTED BY (SIGNATURE):
[6 empty] | ________________ | DATE MONTHLY BACTERIOLOGICAL SAMPLES
8552 | [5 empty] | Cert. Or Reg. No. | SUBMITTED:
CERT. OR REG. NO.
**RECORD METER READING FROM LAST DAY
*INDICATE TYPE OF CI RESIDUAL | [6 empty] | OF PREVIOUS MONTH:
F=FREE; C=COMBINED; T=TOTAL
METER BY PASSED

## AUG 2014
| ILLINOIS ENVIRONMENTAL PROTECTION AGENCY |  |  | VILLAGE OF NORTH HENDERSON PUBLIC WATER SUPPLY
DIVISION OF PUBLIC WATER SUPPLIES
|  | FACILITY #:IL1310300 |  | FOR THE MONTH OF: |  |  | AUGUST 2014
CHLORINATION
|  |  |  | PRE-CHLORINATION |  |  | FINISHED WATER
|  |  |  | CHLORINE DOSAGE |  |  | CHLORINE TESTS (mg/l)
| Time | Meter | Water |  | Amount |  | CI | CHLORINE | DAY | *
| Meter | Reading | Treated |  | Used | Calcul. | FINISHED | RESIDUAL | TANK
Date | Read | (1000 gal) | (1000 gal) | Reading | lbs | mg/l |  | DISTRIBUTION
**
1 | 6:45 |  | 0 |  |  |  | 1.7 |  | 15/50 | T
2 |  |  | 0 | [6 empty] | T
3 |  |  | 0 | [6 empty] | T
4 | 20:50 |  | 0 | [5 empty] | 5/50 | T
5 | 17:00 |  | 0 |  |  |  | 1.5 |  | 45 | T
6 | 15:30 |  | 0 |  |  |  | 1.7 |  | 40 | T
7 |  |  | 0 | [6 empty] | T
8 |  |  | 0 | [6 empty] | T
9 |  |  | 0 | [6 empty] | T
10 | 8:30 |  | 0 |  |  |  | 1 |  | 19 | T
11 |  |  | 0 | [6 empty] | T
12 | 8:15 |  | 0 |  |  |  | 1.6 |  | 9/50 | T
13 |  |  | 0 | [6 empty] | T
14 |  |  | 0 | [6 empty] | T
15 | 8:45 |  | 0 |  |  |  | 1.8 |  | 32 | T
16 | 9:30 |  | 0 | [5 empty] | 26 | T
17 | 9:00 |  | 0 |  |  |  | 1.5 |  | 22/50 | T
18 |  |  | 0 | [6 empty] | T
19 | 17:00 |  | 0 |  |  |  | 2 |  | 39 | T
20 |  |  | 0 | [6 empty] | T
21 | 18:30 |  | 0 |  |  |  | 1.2 |  | 29 | T
22 | 17:00 |  | 0 |  |  |  | 1 |  | 23 | T
23 |  |  | 0 | [6 empty] | T
24 | 9:00 |  | 0 |  |  |  | 1 |  | 14/56 | T
25 | 18:30 |  | 0 |  |  |  | 1.6 |  | 42 | T
26 | 16:30 |  | 0 |  |  |  | 1.5 |  | 36 | T
27 | 14:20 |  | 0 |  |  |  | 2 |  | 30 | T
28 |  |  | 0 | [6 empty] | T
29 | 9:00 |  | 0 |  |  |  | 2 |  | 14 | T
30 |  |  | 0 | [6 empty] | T
31 |  |  | 0 | [6 empty] | T
Total |  |  | 0
Ave. |  |  | 0
Max. |  |  | 0
Min. |  |  | 0
I certify that the information in this report is complete and | [6 empty] | METER LOCATION: PUMP HOUSE
accurate to the best of my knowledge:
TYPE OF CI TEST KIT AND/OR METHOD USED:
COLOR DISC
REPORTED BY (SIGNATURE):
[6 empty] | ________________ | DATE MONTHLY BACTERIOLOGICAL SAMPLES
8552 | [5 empty] | Cert. Or Reg. No. | SUBMITTED:
CERT. OR REG. NO.
**RECORD METER READING FROM LAST DAY
*INDICATE TYPE OF CI RESIDUAL | [6 empty] | OF PREVIOUS MONTH:
F=FREE; C=COMBINED; T=TOTAL
METER BY PASSED

## SEPT 2014
| ILLINOIS ENVIRONMENTAL PROTECTION AGENCY |  |  | VILLAGE OF NORTH HENDERSON PUBLIC WATER SUPPLY
DIVISION OF PUBLIC WATER SUPPLIES
|  | FACILITY #:IL1310300 |  | FOR THE MONTH OF: |  |  | SEPTEMBER 2014
CHLORINATION
|  |  |  | PRE-CHLORINATION |  |  | FINISHED WATER
|  |  |  | CHLORINE DOSAGE |  |  | CHLORINE TESTS (mg/l)
| Time | Meter | Water |  | Amount |  | CI | CHLORINE | DAY
| Meter | Reading | Treated |  | Used | Calcul. | FINISHED | RESIDUAL | TANK | *
Date | Read | (1000 gal) | (1000 gal) | Reading | lbs | mg/l |  | DISTRIBUTION
**
1 | 8:30 |  | 0 |  |  |  | 1.5 |  | 2/50 | T
2 | 19:15 |  | 0 |  |  |  | 1.3 |  | 43 | T
3 | 20:30 |  | 0 |  |  |  | 1.5 |  | 36 | T
4 |  |  | 0 | [6 empty] | T
5 | 19:00 |  | 0 |  |  |  | 0.9 |  | 21 | T
6 |  |  | 0 | [6 empty] | T
7 | 9:00 |  | 0 |  |  |  | 0.9 |  | 11/50 | T
8 | 19:30 |  | 0 |  |  |  | 1 |  | 45 | T
9 | 19:00 |  | 0 |  |  |  | 1.4 |  | 40 | T
10 | 19:00 |  | 0 |  |  |  | 1.5 |  | 36 | T
11 |  |  | 0 | [6 empty] | T
12 | 17:00 |  | 0 |  |  |  | 1.5 |  | 31 | T
13 | 8:30 |  | 0 |  |  |  | 1.5 |  | 26 | T
14 | 8:00 |  | 0 |  |  |  | 1.6 |  | 22 | T
15 |  |  | 0 | [6 empty] | T
16 | 19:00 |  | 0 |  |  |  | 1.8 |  | 18 | T
17 | 19:30 |  | 0 |  |  |  | 2 |  | 14 | T
18 | 19:00 |  | 0 |  |  |  | 2.2 |  | 8 | T
19 | 13:30 |  | 0 |  |  |  | 3 |  | 2/45 | T
20 | 8:30 | 24642 | 24642 |  |  |  | 3 |  | 45 | T
21 | 9:00 | 40000 | 15358 |  |  |  | 0.5 |  | 40 | T
22 | 17:00 | 60135 | 20135 |  |  |  | 2 |  | 40 | T
23 | 18:30 | 74567 | 14432 | [6 empty] | T
24 | 18:30 | 87492 | 12925 |  |  |  | 1.5 |  | 37 | T
25 | 17:00 | 100332 | 12840 |  |  |  | 1.7 |  | 36 | T
26 | 18:30 | 115913 | 15581 |  |  |  | 1.8 |  | 35 | T
27 | 8:30 | 137505 | 21592 |  |  |  | 1.8 |  | 27 | T
28 |  |  | 0 | [6 empty] | T
29 |  |  | 0 | [6 empty] | T
30 |  |  | 0 | [6 empty] | T
31 |  |  | 0 | [6 empty] | T
Total |  |  | 137505
Ave. |  |  | 8594.0625
Max. |  |  | 24642
Min. |  |  | 0
I certify that the information in this report is complete and | [6 empty] | METER LOCATION: PUMP HOUSE
accurate to the best of my knowledge:
TYPE OF CI TEST KIT AND/OR METHOD USED:
COLOR DISC
REPORTED BY (SIGNATURE):
[6 empty] | ________________ | DATE MONTHLY BACTERIOLOGICAL SAMPLES
8552 | [5 empty] | Cert. Or Reg. No. | SUBMITTED:
CERT. OR REG. NO.
**RECORD METER READING FROM LAST OF DAY OF
*INDICATE TYPE OF CI RESIDUAL | [6 empty] | PREVIOUS MONTH
F=FREE; C=COMBINED; T=TOTAL
METER OFF LINE

## 2014 SUMMARY SHEET
VILLAGE OF NORTH HENDERSON
2014 SUMMARY REPORT
MONTH | MONTHLY TOTAL PUMPED | MAXIMUM PUMPED 24 HOURS
JANUARY
FEBRUARY
MARCH
APRIL
MAY
JUNE
JULY
AUGUST
SEPTEMBER
OCTOBER
NOVEMBER
DECEMBER
2014 TOTAL GALLONS PUMPED

## Nov 2014
| ILLINOIS ENVIRONMENTAL PROTECTION AGENCY |  |  | VILLAGE OF NORTH HENDERSON PUBLIC WATER SUPPLY
DIVISION OF PUBLIC WATER SUPPLIES
|  | FACILITY #:IL1310300 |  | FOR THE MONTH OF: |  |  | Nov 2014
CHLORINATION
|  |  |  | PRE-CHLORINATION |  |  | FINISHED WATER
|  |  |  | CHLORINE DOSAGE |  |  | CHLORINE TESTS (mg/l)
| Time | Meter | Water |  | Amount |  | CI | CHLORINE | DAY | *
| Meter | Reading | Treated |  | Used | Calcul. | FINISHED | RESIDUAL | TANK
Date | Read | (1000 gal) | (1000 gal) | Reading | lbs | mg/l |  | DISTRIBUTION
** |  | 610495 | [6 empty] | 47
1 | 7:30 | 610495 | 0 | [5 empty] | 37 | T
2 | 9 | 648878 | 38383 |  |  |  | 1 | 1 | 33 | T
3 | 9:15 | 668627 | 19749 |  |  |  | 1.7 | 1 | 29 | T
4 | 10:45 | 683387 | 14760 |  |  |  | 1 | 1 | 25 | T
5 | 18:30 | 699860 | 16473 |  |  |  | 1.2 | 1 | 20 | T
6 | 17:30 | 719607 | 19747 |  |  |  | 1 | 1.1 | 16 | T
7 | 17:30 | 732527 | 12920 |  |  |  | 0.8 | 0.9 | 14;50 | T
8 | 8:30 | 740276 | 7749 |  |  |  | 1.2 | 1 | 48 | T
9 | 8 | 755035 | 14759 |  |  |  | 2 | 1.5 | 45 | T
10 | 9:30 | 772670 | 17635 |  |  |  | 2 | 1.5 | 41 | T
11 | 5:30 | 784707 | 12037 |  |  |  | 1.6 | 1 | 36 | T
12 | 15:45 | 808333 | 23626 |  |  |  | 1.8 | 1.2 | 33 | T
13 | 8:45 | 818334 | 10001 |  |  |  | 0.9 | 1 | 29 | T
14 | 8:15 | 831998 | 13664 |  |  |  | 2 | 1 | 25 | T
15 | 8 | 843420 | 11422 |  |  |  | 2.5 | 1.5 | 20 | T
16 | 18:30 | 856535 | 13115 |  |  |  | 3 | 2 | 16 | T
17 | 12 | 876773 | 20238 |  |  |  | 1 | 1 | 10;50 | T
18 | 17:00 | 893654 | 16881 |  |  |  | 1 | 1 | 43 | T
19 |  | 893654 | 0 | [6 empty] | T
20 | 18:30 | 915067 | 21413 |  |  |  | 1 | 0.9 | 38 | T
21 | 13:00 | 931538 | 16471 |  |  |  | 1.7 | 1.2 | 35 | T
22 | 13:00 | 939441 | 7903 |  |  |  | 1.8 | 1.5 |  | T
23 |  | 939441 | 0 | [5 empty] | 26 | T
24 | 18:15 | 972336 | 32895 |  |  |  | 2.2 | 2 | 20 | T
25 | 19:20 | 989985 | 17649 |  |  |  | 2.2 | 2 |  | T
26 |  | 989985 | 0 | [6 empty] | T
27 | 8 | 1009350 | 19365 |  |  |  | 2 | 1.8 | 15 | T
28 | 7 | 1022513 | 13163 |  |  |  | 1.7 | 1.6 | 10;50 | T
29 | [9 empty] | T
30 | [9 empty] | T
31 | [9 empty] | T
Total |  |  | 240934
Ave. |  |  | 22515.5862
Max. |  |  | 23626
Min. |  |  | 7903
I certify that the information in this report is complete and | [6 empty] | METER LOCATION: PUMP HOUSE
accurate to the best of my knowledge:
TYPE OF CI TEST KIT AND/OR METHOD USED:
COLOR DISC
REPORTED BY (SIGNATURE):
[6 empty] | ________________ | DATE MONTHLY BACTERIOLOGICAL SAMPLES
8552 | [5 empty] | Cert. Or Reg. No. | SUBMITTED:
CERT. OR REG. NO.
**RECORD METER READING FROM LAST DAY
*INDICATE TYPE OF CI RESIDUAL | [6 empty] | OF PREVIOUS MONTH:
F=FREE; C=COMBINED; T=TOTAL

## DEC 2014
| ILLINOIS ENVIRONMENTAL PROTECTION AGENCY |  |  | VILLAGE OF NORTH HENDERSON PUBLIC WATER SUPPLY
DIVISION OF PUBLIC WATER SUPPLIES
|  | FACILITY #:IL1310300 |  | FOR THE MONTH OF: |  |  | Dec 2014
CHLORINATION
|  |  |  | PRE-CHLORINATION |  |  | FINISHED WATER
|  |  |  | CHLORINE DOSAGE |  |  | CHLORINE TESTS (mg/l)
| Time | Meter | Water |  | Amount |  | CI | CHLORINE | DAY | *
| Meter | Reading | Treated |  | Used | Calcul. | FINISHED | RESIDUAL | TANK
Date | Read | (1000 gal) | (1000 gal) | Reading | lbs | mg/l |  | DISTRIBUTION
** |  | 1022513 | [6 empty] | 50
1 | 19:00 | 1074620 | 52107 |  |  |  | 1.8 | 1.5 | 38 | T
2 | 9:30 | 1082387 | 7767 |  |  |  | 3 | 3 | 35 | T
3 | 10:40 | 1096347 | 13960 |  |  |  | 2.5 | 3 | 31 | T
4 |  | 1096347 | 0 | [6 empty] | T
5 |  | 1096347 | 0 | [6 empty] | T
6 |  | 1096347 | 0 | [6 empty] | T
7 | 11:30 | 1152048 | 55701 |  |  |  | 1 | 1.5 | 15;50 | T
8 | 14:00 | 1177770 | 25722 |  |  |  | 2.5 | 2 | 47 | T
9 | 9:30 | 1178489 | 719 |  |  |  | 2.5 | 2 | 44 | T
10 | 13:30 | 1194358 | 15869 |  |  |  | 2 | 2 | 40 | T
11 |  | 1194358 | 0 | [6 empty] | T
12 | 9:45 | 1218783 | 24425 |  |  |  | 2.5 | 2.2 | 33 | T
13 |  | 1218783 | 0 | [6 empty] | T
14 | 16:00 | 1250630 | 31847 |  |  |  | 2.5 | 2.3 | 23 | T
15 | 9:30 | 1260456 | 9826 |  |  |  | 1.7 | 2 | 20 | T
16 |  | 1260456 | 0 | [6 empty] | T
17 | 8 | 1287880 | 27424 |  |  |  | 1 | 1 | 13;50 | T
18 | 17:00 | 1306100 | 18220 |  |  |  | 1.5 | 1.1 | 46 | T
19 |  | 1306100 | 0 | [6 empty] | T
20 | 11:30 | 1330234 | 24134 |  |  |  | 1 | 1 | 39 | T
21 |  | 1330234 | 0 | [6 empty] | T
22 |  | 1330234 | 0 | [6 empty] | T
23 | 9 | 1371669 | 41435 |  |  |  | 2 | 1.5 | 27 | T
24 | 7:30 | 1383664 | 11995 |  |  |  | 2 | 1.6 | 24 | T
25 |  | 1383664 | 0 | [6 empty] | T
26 | 12 | 1415108 | 31444 |  |  |  | 1.9 | 1.8 | 15 | T
27 |  | 1415108 | 0 | [6 empty] | T
28 | 17:00 | 1448403 | 33295 |  |  |  | 1 | 1 | 5;50 | T
29 |  | 1448403 | 0 | [6 empty] | T
30 | 12 | 1474272 | 25869 |  |  |  | 2.2 | 2 | 45 | T
31 | [9 empty] | T
Total |  |  | 250587
Ave. |  |  | 15058.6333
Max. |  |  | 25722
Min. |  |  | 7767
I certify that the information in this report is complete and | [6 empty] | METER LOCATION: PUMP HOUSE
accurate to the best of my knowledge:
TYPE OF CI TEST KIT AND/OR METHOD USED:
COLOR DISC
REPORTED BY (SIGNATURE):
[6 empty] | ________________ | DATE MONTHLY BACTERIOLOGICAL SAMPLES
8552 | [5 empty] | Cert. Or Reg. No. | SUBMITTED:
CERT. OR REG. NO.
**RECORD METER READING FROM LAST DAY
*INDICATE TYPE OF CI RESIDUAL | [6 empty] | OF PREVIOUS MONTH:
F=FREE; C=COMBINED; T=TOTAL